## IOPS & BW of disk
server | IOPS | [13 empty] | BW (MiB/s)
| bare_disk | [13 empty] | server | bare_disk
37 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 37 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| randwrite_04k | 63800 | 63700 | 389 | 389 | 395 | 395 | 418 | 385 | 404 | 428 | 425 | 376 | 386 |  | randwrite_04k | 249 | 249 | 1.559 | 1.56 | 1.583 | 1.58 | 1.676 | 1.543 | 1.62 | 1.716 | 1.702 | 1.505 | 1.547
| randwrite_08k | 42900 | 43100 | 399 | 399 | 403 | 404 | 422 | 385 | 409 | 431 | 429 | 385 | 390 |  | randwrite_08k | 335 | 337 | 3.195 | 3.195 | 3.23 | 3.235 | 3.384 | 3.083 | 3.274 | 3.45 | 3.439 | 3.087 | 3.125
| randwrite_64k | 7208 | 7246 | 401 | 383 | 390 | 402 | 410 | 375 | 412 | 425 | 424 | 396 | 398 |  | randwrite_64k | 451 | 453 | 25.1 | 23 | 24.4 | 25.2 | 25.7 | 23.5 | 25.8 | 26.6 | 26.5 | 24.8 | 24.9
38 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 38 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| randwrite_04k | 64500 | 64200 | 394 | 437 | 401 | 432 | 357 | 405 | 424 | 400 | 393 | 383 | 407 |  | randwrite_04k | 252 | 251 | 1.577 | 1.751 | 1.607 | 1.731 | 1.43 | 1.62 | 1.699 | 1.602 | 1.573 | 1.535 | 1.629
| randwrite_08k | 44400 | 42200 | 395 | 442 | 405 | 434 | 362 | 403 | 431 | 404 | 391 | 386 | 409 |  | randwrite_08k | 347 | 330 | 3.168 | 3.541 | 3.247 | 3.475 | 2.897 | 3.23 | 3.454 | 3.232 | 3.13 | 3.094 | 3.276
| randwrite_64k | 7474 | 6957 | 384 | 432 | 398 | 444 | 371 | 397 | 427 | 401 | 398 | 377 | 395 |  | randwrite_64k | 467 | 435 | 24 | 27 | 24.9 | 27.8 | 23.2 | 24.8 | 26.7 | 25.1 | 24.9 | 23.6 | 24.7
39 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 39 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| randwrite_04k | 63400 | 59600 | 405 | 423 | 410 | 404 | 397 | 415 | 412 | 403 | 381 | 421 | 432 |  | randwrite_04k | 248 | 233 | 1.622 | 1.695 | 1.643 | 1.617 | 1.591 | 1.663 | 1.65 | 1.615 | 1.524 | 1.687 | 1.73
| randwrite_08k | 41000 | 41900 | 409 | 439 | 419 | 415 | 395 | 415 | 418 | 409 | 379 | 425 | 446 |  | randwrite_08k | 320 | 327 | 3.279 | 3.515 | 3.356 | 3.321 | 3.166 | 3.322 | 3.348 | 3.278 | 3.034 | 3.401 | 3.573
| randwrite_64k | 6501 | 7255 | 399 | 430 | 411 | 404 | 397 | 408 | 404 | 410 | 376 | 408 | 450 |  | randwrite_64k | 406 | 453 | 24.9 | 26.9 | 25.7 | 25.3 | 24.9 | 25.5 | 25.3 | 25.7 | 23.5 | 25.5 | 28.1
37 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 37 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| randread_04k | 79000 | 80200 | 514 | 517 | 515 | 519 | 521 | 516 | 517 | 521 | 518 | 491 | 496 |  | randread_04k | 312 | 313 | 2.058 | 2.072 | 2.06 | 2.078 | 2.085 | 2.065 | 2.071 | 2.087 | 2.076 | 1.967 | 1.985
| randread_08k | 49100 | 49100 | 511 | 513 | 511 | 517 | 516 | 515 | 514 | 519 | 516 | 487 | 494 |  | randread_08k | 383 | 384 | 4.092 | 4.111 | 4.095 | 4.141 | 4.129 | 4.126 | 4.117 | 4.153 | 4.128 | 3.902 | 3.959
| randread_64k | 8224 | 8212 | 464 | 465 | 463 | 471 | 471 | 469 | 470 | 475 | 462 | 439 | 446 |  | randread_64k | 514 | 513 | 29 | 29.1 | 28 | 29.5 | 29.5 | 29.4 | 29.4 | 29.7 | 28.9 | 27.5 | 27.9
38 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 38 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| randread_04k | 79700 | 77700 | 519 | 508 | 515 | 520 | 514 | 518 | 518 | 520 | 517 | 518 | 516 |  | randread_04k | 311 | 303 | 2.076 | 2.036 | 2.062 | 2.082 | 2.056 | 2.074 | 2.072 | 2.08 | 2.07 | 2.073 | 2.067
| randread_08k | 49400 | 47500 | 514 | 506 | 510 | 518 | 512 | 513 | 516 | 517 | 515 | 516 | 513 |  | randread_08k | 386 | 371 | 4.119 | 4.055 | 4.087 | 4.148 | 4.097 | 4.11 | 4.13 | 4.14 | 4.121 | 4.129 | 4.111
| randread_64k | 8114 | 8000 | 457 | 465 | 458 | 471 | 454 | 464 | 467 | 472 | 469 | 462 | 462 |  | randread_64k | 507 | 500 | 28.6 | 29.1 | 28.7 | 29.5 | 28.4 | 29 | 29.2 | 29.6 | 29.4 | 28.9 | 28.9
39 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 39 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| randread_04k | 80100 | 77000 | 518 | 510 | 521 | 517 | 518 | 513 | 519 | 514 | 517 | 519 | 500 |  | randread_04k | 313 | 305 | 2.072 | 2.042 | 2.086 | 2.072 | 2.075 | 2.055 | 2.078 | 2.059 | 2.07 | 2.079 | 2.003
| randread_08k | 48700 | 48900 | 514 | 507 | 518 | 513 | 518 | 512 | 518 | 511 | 515 | 514 | 496 |  | randread_08k | 381 | 382 | 4.119 | 4.06 | 4.148 | 4.112 | 4.145 | 4.098 | 4.145 | 4.094 | 4.125 | 4.119 | 3.969
| randread_64k | 8015 | 8229 | 466 | 461 | 470 | 465 | 470 | 469 | 468 | 462 | 467 | 463 | 456 |  | randread_64k | 501 | 514 | 29.1 | 28.8 | 29.4 | 29.1 | 29.4 | 29.3 | 29.3 | 28.9 | 29.2 | 28 | 28.5
37 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 37 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| write_64k | 7386 | 7307 | 3201 | 3170 | 3104 | 3281 | 3173 | 3138 | 3215 | 3292 | 3213 | 3133 | 3172 |  | write_64k | 462 | 457 | 200 | 198 | 194 | 205 | 198 | 196 | 201 | 206 | 201 | 196 | 198
| write_512k | 933 | 923 | 405 | 402 | 391 | 410 | 400 | 396 | 404 | 410 | 403 | 390 | 396 |  | write_512k | 467 | 462 | 203 | 201 | 196 | 205 | 200 | 198 | 202 | 205 | 202 | 195 | 198
| write_1m | 462 | 465 | 199 | 197 | 194 | 207 | 200 | 195 | 187 | 206 | 201 | 196 | 199 |  | write_1m | 463 | 465 | 199 | 197 | 195 | 207 | 200 | 196 | 188 | 207 | 201 | 197 | 199
38 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 38 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| write_64k | 7599 | 7731 | 3129 | 3150 | 3129 | 3253 | 3007 | 3079 | 3186 | 3287 | 3217 | 3263 | 3122 |  | write_64k | 475 | 483 | 196 | 197 | 196 | 203 | 188 | 192 | 199 | 205 | 201 | 204 | 195
| write_512k | 967 | 979 | 380 | 395 | 353 | 409 | 383 | 388 | 397 | 413 | 402 | 370 | 389 |  | write_512k | 484 | 490 | 190 | 198 | 177 | 205 | 192 | 194 | 199 | 207 | 201 | 185 | 195
| write_1m | 481 | 492 | 195 | 197 | 195 | 203 | 187 | 190 | 199 | 206 | 201 | 202 | 194 |  | write_1m | 482 | 493 | 195 | 197 | 195 | 203 | 187 | 191 | 200 | 207 | 202 | 203 | 195
39 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 39 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| write_64k | 7297 | 6537 | 3127 | 3148 | 3131 | 3144 | 3129 | 3291 | 3215 | 3079 | 3175 | 3161 | 3110 |  | write_64k | 456 | 409 | 195 | 197 | 196 | 197 | 196 | 206 | 201 | 192 | 198 | 198 | 194
| write_512k | 928 | 826 | 393 | 396 | 396 | 393 | 396 | 380 | 396 | 379 | 396 | 393 | 387 |  | write_512k | 464 | 413 | 197 | 198 | 198 | 197 | 198 | 190 | 198 | 190 | 198 | 197 | 194
| write_1m | 466 | 411 | 196 | 197 | 197 | 195 | 196 | 202 | 201 | 193 | 198 | 198 | 195 |  | write_1m | 467 | 412 | 196 | 198 | 198 | 196 | 196 | 202 | 202 | 194 | 199 | 199 | 196
37 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 37 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| read_64k | 8397 | 8432 | 3302 | 3283 | 3194 | 3367 | 3289 | 3287 | 3296 | 3387 | 3286 | 3215 | 3245 |  | read_64k | 525 | 527 | 206 | 205 | 200 | 210 | 206 | 205 | 206 | 212 | 205 | 201 | 203
| read_512k | 1062 | 1059 | 412 | 410 | 398 | 421 | 410 | 410 | 412 | 423 | 410 | 401 | 405 |  | read_512k | 531 | 530 | 206 | 205 | 199 | 211 | 205 | 205 | 206 | 212 | 205 | 201 | 203
| read_1m | 530 | 530 | 206 | 205 | 199 | 210 | 205 | 205 | 206 | 194 | 204 | 200 | 202 |  | read_1m | 530 | 531 | 206 | 205 | 200 | 211 | 205 | 205 | 206 | 194 | 205 | 200 | 203
38 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 38 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| read_64k | 8371 | 8384 | 3265 | 3239 | 3198 | 3337 | 3139 | 3211 | 3254 | 3374 | 3326 | 3300 | 3203 |  | read_64k | 523 | 524 | 204 | 202 | 200 | 209 | 196 | 201 | 203 | 211 | 208 | 206 | 200
| read_512k | 1048 | 1043 | 407 | 405 | 399 | 417 | 364 | 401 | 407 | 422 | 415 | 412 | 399 |  | read_512k | 524 | 522 | 204 | 203 | 200 | 209 | 182 | 201 | 204 | 211 | 208 | 206 | 200
| read_1m | 523 | 523 | 191 | 202 | 199 | 208 | 196 | 200 | 203 | 210 | 207 | 206 | 200 |  | read_1m | 524 | 524 | 192 | 203 | 200 | 209 | 196 | 201 | 203 | 210 | 207 | 206 | 200
39 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 39 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| read_64k | 8397 | 8094 | 3215 | 3234 | 3249 | 3205 | 3233 | 3411 | 3098 | 3090 | 3245 | 3244 | 3252 |  | read_64k | 525 | 506 | 201 | 202 | 203 | 200 | 202 | 213 | 194 | 193 | 203 | 203 | 203
| read_512k | 1058 | 1018 | 402 | 403 | 406 | 400 | 404 | 426 | 412 | 394 | 406 | 405 | 406 |  | read_512k | 529 | 509 | 201 | 202 | 203 | 200 | 202 | 213 | 206 | 197 | 203 | 203 | 203
| read_1m | 531 | 507 | 200 | 201 | 203 | 200 | 201 | 212 | 206 | 197 | 203 | 202 | 203 |  | read_1m | 531 | 507 | 201 | 202 | 203 | 200 | 202 | 213 | 206 | 197 | 203 | 203 | 203
server | xfs disk | [13 empty] | server | xfs disk
37 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 37 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| randwrite_04k | 32400 | 31900 | 223 | 223 | 224 | 225 | 235 | 219 | 229 | 235 | 234 | 216 | 217 |  | randwrite_04k | 126 | 124 | 0.894 | 0.893 | 0.896 | 0.901 | 0.94 | 0.879 | 0.916 | 0.943 | 0.94 | 0.866 | 0.87
| randwrite_08k | 25800 | 25200 | 222 | 221 | 222 | 224 | 232 | 215 | 228 | 234 | 233 | 214 | 216 |  | randwrite_08k | 201 | 197 | 1.778 | 1.77 | 1.78 | 1.794 | 1.863 | 1.724 | 1.83 | 1.875 | 1.872 | 1.718 | 1.732
| randwrite_64k | 7019 | 6801 | 207 | 203 | 206 | 213 | 214 | 200 | 212 | 220 | 213 | 203 | 206 |  | randwrite_64k | 439 | 425 | 12.9 | 12.7 | 12.9 | 13.3 | 13.4 | 12.5 | 13.3 | 13.8 | 13.3 | 12.7 | 12.9
38 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 38 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| randwrite_04k | 35400 | 36800 | 222 | 235 | 224 | 234 | 208 | 226 | 234 | 224 | 220 | 217 | 226 |  | randwrite_04k | 138 | 144 | 0.891 | 0.944 | 0.899 | 0.94 | 0.833 | 0.904 | 0.937 | 0.897 | 0.883 | 0.872 | 0.906
| randwrite_08k | 27500 | 29300 | 220 | 237 | 223 | 233 | 205 | 224 | 233 | 223 | 217 | 216 | 225 |  | randwrite_08k | 215 | 229 | 1.767 | 1.897 | 1.785 | 1.866 | 1.641 | 1.8 | 1.871 | 1.787 | 1.743 | 1.729 | 1.803
| randwrite_64k | 7098 | 7515 | 204 | 215 | 205 | 215 | 191 | 205 | 215 | 207 | 202 | 199 | 207 |  | randwrite_64k | 444 | 470 | 12.8 | 13.5 | 12.8 | 13.5 | 11 | 12.8 | 13.4 | 12 | 12.7 | 12.5 | 12
39 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 39 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| randwrite_04k | 32400 | 32400 | 226 | 239 | 228 | 225 | 225 | 229 | 229 | 227 | 219 | 234 | 243 |  | randwrite_04k | 127 | 127 | 0.904 | 0.959 | 0.915 | 0.902 | 0.903 | 0.919 | 0.92 | 0.909 | 0.88 | 0.938 | 0.973
| randwrite_08k | 25800 | 25800 | 224 | 237 | 227 | 225 | 224 | 229 | 229 | 224 | 216 | 234 | 245 |  | randwrite_08k | 202 | 202 | 1.795 | 1.9 | 1.819 | 1.805 | 1.795 | 1.833 | 1.836 | 1.795 | 1.729 | 1.872 | 1.963
| randwrite_64k | 7001 | 7016 | 210 | 215 | 207 | 207 | 210 | 214 | 210 | 207 | 204 | 211 | 224 |  | randwrite_64k | 438 | 439 | 13.2 | 13.5 | 12 | 12.9 | 13.2 | 13.4 | 13.1 | 12 | 12.8 | 13.2 | 14
37 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 37 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| randread_04k | 70800 | 70000 | 508 | 511 | 509 | 515 | 516 | 510 | 513 | 517 | 512 | 485 | 491 |  | randread_04k | 277 | 277 | 2.034 | 2.045 | 2.039 | 2.063 | 2.064 | 2.041 | 2.055 | 2.069 | 2.052 | 1.943 | 1.965
| randread_08k | 45900 | 45000 | 505 | 507 | 507 | 510 | 511 | 507 | 510 | 511 | 509 | 482 | 488 |  | randread_08k | 358 | 359 | 4.043 | 4.06 | 4.06 | 4.087 | 4.093 | 4.059 | 4.083 | 4.095 | 4.079 | 3.863 | 3.908
| randread_64k | 8192 | 8139 | 461 | 462 | 459 | 464 | 466 | 460 | 461 | 459 | 450 | 440 | 442 |  | randread_64k | 512 | 509 | 28.9 | 28.9 | 28.7 | 29 | 29.2 | 28.8 | 28.8 | 28.7 | 28.1 | 27.5 | 27.6
38 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 38 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| randread_04k | 70900 | 70900 | 512 | 504 | 509 | 513 | 506 | 512 | 512 | 514 | 512 | 513 | 511 |  | randread_04k | 277 | 277 | 2.051 | 2.017 | 2.038 | 2.056 | 2.027 | 2.05 | 2.051 | 2.058 | 2.049 | 2.053 | 2.044
| randread_08k | 45000 | 45000 | 508 | 501 | 505 | 513 | 505 | 506 | 511 | 512 | 507 | 509 | 507 |  | randread_08k | 359 | 359 | 4.065 | 4.014 | 4.047 | 4.104 | 4.043 | 4.048 | 4.091 | 4.099 | 4.058 | 4.075 | 4.062
| randread_64k | 7937 | 7949 | 461 | 455 | 458 | 465 | 453 | 459 | 458 | 465 | 466 | 467 | 457 |  | randread_64k | 496 | 497 | 28.8 | 28.5 | 28.6 | 29.1 | 28.3 | 28.7 | 28.7 | 29.1 | 29.1 | 29.2 | 28.6
39 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 39 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| randread_04k | 70900 | 70800 | 511 | 504 | 515 | 511 | 513 | 508 | 515 | 509 | 511 | 512 | 495 |  | randread_04k | 277 | 276 | 2.045 | 2.017 | 2.063 | 2.045 | 2.054 | 2.033 | 2.061 | 2.037 | 2.046 | 2.051 | 1.983
| randread_08k | 45000 | 45800 | 508 | 501 | 510 | 508 | 511 | 505 | 511 | 506 | 510 | 508 | 493 |  | randread_08k | 359 | 358 | 4.066 | 4.01 | 4.085 | 4.067 | 4.091 | 4.041 | 4.094 | 4.049 | 4.082 | 4.07 | 3.945
| randread_64k | 8039 | 8106 | 461 | 454 | 463 | 458 | 468 | 457 | 459 | 460 | 462 | 458 | 452 |  | randread_64k | 502 | 507 | 28.8 | 28.4 | 28 | 28.7 | 29.3 | 28.6 | 28.7 | 28.8 | 28.9 | 28.6 | 28.3
37 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 37 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| write_64k | 4547 | 4459 | 3002 | 3103 | 2845 | 3236 | 3082 | 2901 | 3167 | 3246 | 3164 | 3003 | 3126 |  | write_64k | 284 | 279 | 188 | 194 | 178 | 202 | 193 | 181 | 198 | 203 | 198 | 188 | 195
| write_512k | 514 | 498 | 396 | 391 | 386 | 404 | 387 | 390 | 396 | 407 | 396 | 388 | 391 |  | write_512k | 257 | 249 | 198 | 196 | 193 | 202 | 194 | 195 | 198 | 204 | 198 | 194 | 196
| write_1m | 248 | 247 | 196 | 197 | 192 | 201 | 196 | 194 | 198 | 201 | 196 | 194 | 189 |  | write_1m | 248 | 247 | 196 | 197 | 192 | 202 | 196 | 195 | 199 | 202 | 197 | 194 | 190
38 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 38 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| write_64k | 4539 | 4573 | 3097 | 3108 | 2770 | 3224 | 3029 | 3052 | 3138 | 3239 | 3199 | 3183 | 3091 |  | write_64k | 284 | 286 | 194 | 194 | 173 | 202 | 189 | 191 | 196 | 202 | 200 | 199 | 193
| write_512k | 506 | 507 | 389 | 391 | 384 | 399 | 378 | 381 | 391 | 405 | 387 | 397 | 384 |  | write_512k | 253 | 254 | 195 | 196 | 192 | 200 | 189 | 191 | 196 | 203 | 194 | 199 | 192
| write_1m | 251 | 260 | 194 | 189 | 192 | 201 | 189 | 185 | 196 | 197 | 187 | 198 | 191 |  | write_1m | 252 | 261 | 195 | 190 | 193 | 202 | 190 | 186 | 196 | 197 | 187 | 199 | 192
39 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 39 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| write_64k | 4595 | 4623 | 3090 | 3118 | 3102 | 3013 | 3093 | 3248 | 3179 | 3056 | 3143 | 3121 | 3110 |  | write_64k | 287 | 289 | 193 | 195 | 194 | 188 | 193 | 203 | 199 | 191 | 196 | 195 | 194
| write_512k | 510 | 510 | 387 | 389 | 377 | 385 | 389 | 404 | 397 | 381 | 391 | 389 | 383 |  | write_512k | 255 | 255 | 194 | 195 | 189 | 193 | 195 | 202 | 199 | 191 | 196 | 195 | 192
| write_1m | 257 | 246 | 187 | 194 | 193 | 193 | 194 | 202 | 198 | 185 | 195 | 194 | 187 |  | write_1m | 257 | 246 | 188 | 195 | 193 | 193 | 195 | 203 | 198 | 186 | 195 | 194 | 188
37 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 37 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| read_64k | 8342 | 8325 | 3303 | 3276 | 3188 | 3368 | 2984 | 3287 | 3286 | 3349 | 3289 | 3216 | 3243 |  | read_64k | 521 | 520 | 206 | 205 | 199 | 211 | 187 | 205 | 205 | 209 | 206 | 201 | 203
| read_512k | 1039 | 1042 | 413 | 410 | 398 | 420 | 411 | 407 | 412 | 423 | 410 | 401 | 405 |  | read_512k | 520 | 521 | 207 | 205 | 199 | 210 | 206 | 204 | 206 | 212 | 205 | 201 | 203
| read_1m | 522 | 522 | 192 | 205 | 199 | 210 | 205 | 205 | 206 | 212 | 205 | 201 | 202 |  | read_1m | 522 | 522 | 192 | 205 | 200 | 211 | 206 | 205 | 206 | 212 | 205 | 201 | 203
38 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 38 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| read_64k | 8299 | 8350 | 3265 | 3098 | 3200 | 3340 | 3139 | 3202 | 3255 | 3373 | 3326 | 3301 | 3199 |  | read_64k | 519 | 522 | 204 | 194 | 200 | 209 | 196 | 200 | 203 | 211 | 208 | 206 | 200
| read_512k | 1034 | 1035 | 408 | 405 | 400 | 417 | 388 | 371 | 403 | 422 | 416 | 412 | 400 |  | read_512k | 517 | 518 | 204 | 203 | 200 | 209 | 194 | 186 | 202 | 211 | 208 | 206 | 200
| read_1m | 519 | 519 | 203 | 202 | 198 | 208 | 196 | 200 | 203 | 210 | 207 | 206 | 200 |  | read_1m | 520 | 520 | 204 | 203 | 199 | 209 | 197 | 201 | 204 | 211 | 208 | 207 | 200
39 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | 39 | disk | sda | sdb | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| read_64k | 8316 | 8299 | 3213 | 3227 | 3253 | 3204 | 3237 | 3408 | 3300 | 3150 | 3247 | 3240 | 3246 |  | read_64k | 520 | 519 | 201 | 202 | 203 | 200 | 202 | 213 | 206 | 197 | 203 | 203 | 203
| read_512k | 1043 | 927 | 402 | 400 | 407 | 400 | 405 | 425 | 409 | 394 | 405 | 405 | 406 |  | read_512k | 522 | 464 | 201 | 200 | 204 | 200 | 203 | 213 | 205 | 197 | 203 | 203 | 203
| read_1m | 520 | 520 | 201 | 202 | 203 | 200 | 201 | 213 | 206 | 197 | 203 | 203 | 203 |  | read_1m | 521 | 521 | 201 | 202 | 203 | 201 | 202 | 213 | 206 | 197 | 203 | 203 | 203

## difference between JBOD & RAID0
JBOD | [8 empty] | avg | min | max | [35 empty] | avg | min | max
|  |  | sda | sdb | sda | sdb | sda | sdb | [5 empty] | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn | sdd | sde | sdf | sdg | sdh | sdi | sdj | sdk | sdl | sdm | sdn
| SSD | randwrite_04k | 63800 | 63700 | 64500 | 64200 | 63400 | 59600 | 63200 | 59600 | 64500 | HDD | randwrite_04k | 389 | 389 | 395 | 395 | 418 | 385 | 404 | 428 | 425 | 376 | 386 | 394 | 437 | 401 | 432 | 357 | 405 | 424 | 400 | 393 | 383 | 407 | 405 | 423 | 410 | 404 | 397 | 415 | 412 | 403 | 381 | 421 | 432 | 403.8182 | 357 | 437
|  | randwrite_08k | 42900 | 43100 | 44400 | 42200 | 41000 | 41900 | 42583.3333 | 41000 | 44400 |  | randwrite_08k | 399 | 399 | 403 | 404 | 422 | 385 | 409 | 431 | 429 | 385 | 390 | 395 | 442 | 405 | 434 | 362 | 403 | 431 | 404 | 391 | 386 | 409 | 409 | 439 | 419 | 415 | 395 | 415 | 418 | 409 | 379 | 425 | 446 | 408.697 | 362 | 446
|  | randwrite_64k | 7208 | 7246 | 7474 | 6957 | 6501 | 7255 | 7106.8333 | 6501 | 7474 |  | randwrite_64k | 401 | 383 | 390 | 402 | 410 | 375 | 412 | 425 | 424 | 396 | 398 | 384 | 432 | 398 | 444 | 371 | 397 | 427 | 401 | 398 | 377 | 395 | 399 | 430 | 411 | 404 | 397 | 408 | 404 | 410 | 376 | 408 | 450 | 404.1515 | 371 | 450
| SSD | randread_04k | 79000 | 80200 | 79700 | 77700 | 80100 | 77000 | 78950 | 77000 | 80200 | HDD | randread_04k | 514 | 517 | 515 | 519 | 521 | 516 | 517 | 521 | 518 | 491 | 496 | 519 | 508 | 515 | 520 | 514 | 518 | 518 | 520 | 517 | 518 | 516 | 518 | 510 | 521 | 517 | 518 | 513 | 519 | 514 | 517 | 519 | 500 | 514.9697 | 491 | 521
|  | randread_08k | 49100 | 49100 | 49400 | 47500 | 48700 | 48900 | 48783.3333 | 47500 | 49400 |  | randread_08k | 511 | 513 | 511 | 517 | 516 | 515 | 514 | 519 | 516 | 487 | 494 | 514 | 506 | 510 | 518 | 512 | 513 | 516 | 517 | 515 | 516 | 513 | 514 | 507 | 518 | 513 | 518 | 512 | 518 | 511 | 515 | 514 | 496 | 512.0909 | 487 | 519
|  | randread_64k | 8224 | 8212 | 8114 | 8000 | 8015 | 8229 | 8132.3333 | 8000 | 8229 |  | randread_64k | 464 | 465 | 463 | 471 | 471 | 469 | 470 | 475 | 462 | 439 | 446 | 457 | 465 | 458 | 471 | 454 | 464 | 467 | 472 | 469 | 462 | 462 | 466 | 461 | 470 | 465 | 470 | 469 | 468 | 462 | 467 | 463 | 456 | 464.0303 | 439 | 475
| SSD | write_64k | 7386 | 7307 | 7599 | 7731 | 7297 | 6537 | 7309.5 | 6537 | 7731 | HDD | write_64k | 3201 | 3170 | 3104 | 3281 | 3173 | 3138 | 3215 | 3292 | 3213 | 3133 | 3172 | 3129 | 3150 | 3129 | 3253 | 3007 | 3079 | 3186 | 3287 | 3217 | 3263 | 3122 | 3127 | 3148 | 3131 | 3144 | 3129 | 3291 | 3215 | 3079 | 3175 | 3161 | 3110 | 3170.4242 | 3007 | 3292
|  | write_512k | 933 | 923 | 967 | 979 | 928 | 826 | 926 | 826 | 979 |  | write_512k | 405 | 402 | 391 | 410 | 400 | 396 | 404 | 410 | 403 | 390 | 396 | 380 | 395 | 353 | 409 | 383 | 388 | 397 | 413 | 402 | 370 | 389 | 393 | 396 | 396 | 393 | 396 | 380 | 396 | 379 | 396 | 393 | 387 | 393.6667 | 353 | 413
|  | write_1m | 462 | 465 | 481 | 492 | 466 | 411 | 462.8333 | 411 | 492 |  | write_1m | 199 | 197 | 194 | 207 | 200 | 195 | 187 | 206 | 201 | 196 | 199 | 195 | 197 | 195 | 203 | 187 | 190 | 199 | 206 | 201 | 202 | 194 | 196 | 197 | 197 | 195 | 196 | 202 | 201 | 193 | 198 | 198 | 195 | 197.5152 | 187 | 207
| SSD | read_64k | 8397 | 8432 | 8371 | 8384 | 8397 | 8094 | 8345.8333 | 8094 | 8432 | HDD | read_64k | 3302 | 3283 | 3194 | 3367 | 3289 | 3287 | 3296 | 3387 | 3286 | 3215 | 3245 | 3265 | 3239 | 3198 | 3337 | 3139 | 3211 | 3254 | 3374 | 3326 | 3300 | 3203 | 3215 | 3234 | 3249 | 3205 | 3233 | 3411 | 3098 | 3090 | 3245 | 3244 | 3252 | 3256.7576 | 3090 | 3411
|  | read_512k | 1062 | 1059 | 1048 | 1043 | 1058 | 1018 | 1048 | 1018 | 1062 |  | read_512k | 412 | 410 | 398 | 421 | 410 | 410 | 412 | 423 | 410 | 401 | 405 | 407 | 405 | 399 | 417 | 364 | 401 | 407 | 422 | 415 | 412 | 399 | 402 | 403 | 406 | 400 | 404 | 426 | 412 | 394 | 406 | 405 | 406 | 406.7879 | 364 | 426
|  | read_1m | 530 | 530 | 523 | 523 | 531 | 507 | 524 | 507 | 531 |  | read_1m | 206 | 205 | 199 | 210 | 205 | 205 | 206 | 194 | 204 | 200 | 202 | 191 | 202 | 199 | 208 | 196 | 200 | 203 | 210 | 207 | 206 | 200 | 200 | 201 | 203 | 200 | 201 | 212 | 206 | 197 | 203 | 202 | 203 | 202.6061 | 191 | 212
| SSD | randwrite_04k | 32400 | 31900 | 35400 | 36800 | 32400 | 32400 | 33550 | 31900 | 36800 | HDD | randwrite_04k | 223 | 223 | 224 | 225 | 235 | 219 | 229 | 235 | 234 | 216 | 217 | 222 | 235 | 224 | 234 | 208 | 226 | 234 | 224 | 220 | 217 | 226 | 226 | 239 | 228 | 225 | 225 | 229 | 229 | 227 | 219 | 234 | 243 | 226.4848 | 208 | 243
|  | randwrite_08k | 25800 | 25200 | 27500 | 29300 | 25800 | 25800 | 26566.6667 | 25200 | 29300 |  | randwrite_08k | 222 | 221 | 222 | 224 | 232 | 215 | 228 | 234 | 233 | 214 | 216 | 220 | 237 | 223 | 233 | 205 | 224 | 233 | 223 | 217 | 216 | 225 | 224 | 237 | 227 | 225 | 224 | 229 | 229 | 224 | 216 | 234 | 245 | 225.1818 | 205 | 245
|  | randwrite_64k | 7019 | 6801 | 7098 | 7515 | 7001 | 7016 | 7075 | 6801 | 7515 |  | randwrite_64k | 207 | 203 | 206 | 213 | 214 | 200 | 212 | 220 | 213 | 203 | 206 | 204 | 215 | 205 | 215 | 191 | 205 | 215 | 207 | 202 | 199 | 207 | 210 | 215 | 207 | 207 | 210 | 214 | 210 | 207 | 204 | 211 | 224 | 208.5152 | 191 | 224
| SSD | randread_04k | 70800 | 70000 | 70900 | 70900 | 70900 | 70800 | 70716.6667 | 70000 | 70900 | HDD | randread_04k | 508 | 511 | 509 | 515 | 516 | 510 | 513 | 517 | 512 | 485 | 491 | 512 | 504 | 509 | 513 | 506 | 512 | 512 | 514 | 512 | 513 | 511 | 511 | 504 | 515 | 511 | 513 | 508 | 515 | 509 | 511 | 512 | 495 | 509.3636 | 485 | 517
|  | randread_08k | 45900 | 45000 | 45000 | 45000 | 45000 | 45800 | 45283.3333 | 45000 | 45900 |  | randread_08k | 505 | 507 | 507 | 510 | 511 | 507 | 510 | 511 | 509 | 482 | 488 | 508 | 501 | 505 | 513 | 505 | 506 | 511 | 512 | 507 | 509 | 507 | 508 | 501 | 510 | 508 | 511 | 505 | 511 | 506 | 510 | 508 | 493 | 506.1212 | 482 | 513
|  | randread_64k | 8192 | 8139 | 7937 | 7949 | 8039 | 8106 | 8060.3333 | 7937 | 8192 |  | randread_64k | 461 | 462 | 459 | 464 | 466 | 460 | 461 | 459 | 450 | 440 | 442 | 461 | 455 | 458 | 465 | 453 | 459 | 458 | 465 | 466 | 467 | 457 | 461 | 454 | 463 | 458 | 468 | 457 | 459 | 460 | 462 | 458 | 452 | 458.7879 | 440 | 468
| SSD | write_64k | 4547 | 4459 | 4539 | 4573 | 4595 | 4623 | 4556 | 4459 | 4623 | HDD | write_64k | 3002 | 3103 | 2845 | 3236 | 3082 | 2901 | 3167 | 3246 | 3164 | 3003 | 3126 | 3097 | 3108 | 2770 | 3224 | 3029 | 3052 | 3138 | 3239 | 3199 | 3183 | 3091 | 3090 | 3118 | 3102 | 3013 | 3093 | 3248 | 3179 | 3056 | 3143 | 3121 | 3110 | 3099.3333 | 2770 | 3248
|  | write_512k | 514 | 498 | 506 | 507 | 510 | 510 | 507.5 | 498 | 514 |  | write_512k | 396 | 391 | 386 | 404 | 387 | 390 | 396 | 407 | 396 | 388 | 391 | 389 | 391 | 384 | 399 | 378 | 381 | 391 | 405 | 387 | 397 | 384 | 387 | 389 | 377 | 385 | 389 | 404 | 397 | 381 | 391 | 389 | 383 | 390.6061 | 377 | 407
|  | write_1m | 248 | 247 | 251 | 260 | 257 | 246 | 251.5 | 246 | 260 |  | write_1m | 196 | 197 | 192 | 201 | 196 | 194 | 198 | 201 | 196 | 194 | 189 | 194 | 189 | 192 | 201 | 189 | 185 | 196 | 197 | 187 | 198 | 191 | 187 | 194 | 193 | 193 | 194 | 202 | 198 | 185 | 195 | 194 | 187 | 193.7879 | 185 | 202
| SSD | read_64k | 8342 | 8325 | 8299 | 8350 | 8316 | 8299 | 8321.8333 | 8299 | 8350 | HDD | read_64k | 3303 | 3276 | 3188 | 3368 | 2984 | 3287 | 3286 | 3349 | 3289 | 3216 | 3243 | 3265 | 3098 | 3200 | 3340 | 3139 | 3202 | 3255 | 3373 | 3326 | 3301 | 3199 | 3213 | 3227 | 3253 | 3204 | 3237 | 3408 | 3300 | 3150 | 3247 | 3240 | 3246 | 3248.8485 | 2984 | 3408
|  | read_512k | 1039 | 1042 | 1034 | 1035 | 1043 | 927 | 1020 | 927 | 1043 |  | read_512k | 413 | 410 | 398 | 420 | 411 | 407 | 412 | 423 | 410 | 401 | 405 | 408 | 405 | 400 | 417 | 388 | 371 | 403 | 422 | 416 | 412 | 400 | 402 | 400 | 407 | 400 | 405 | 425 | 409 | 394 | 405 | 405 | 406 | 406.3636 | 371 | 425
|  | read_1m | 522 | 522 | 519 | 519 | 520 | 520 | 520.3333 | 519 | 522 |  | read_1m | 192 | 205 | 199 | 210 | 205 | 205 | 206 | 212 | 205 | 201 | 202 | 203 | 202 | 198 | 208 | 196 | 200 | 203 | 210 | 207 | 206 | 200 | 201 | 202 | 203 | 200 | 201 | 213 | 206 | 197 | 203 | 203 | 203 | 203.2424 | 192 | 213

## IOPS & BW of Ceph
|  |  | IOPS | BW(MiB/s)
method
librbd | librbd | randwrite_04k | 3355 | 13.1
|  | randwrite_08k | 3196 | 24
|  | randwrite_64k | 2677 | 167
|  | randread_04k | 20.0k | 81.9
|  | randread_08k | 18.9k | 148
|  | randread_64k | 16.4k | 1028
|  | write_64k | 2095 | 131
|  | write_512k | 999 | 500
|  | write_1m | 586 | 587
|  | read_64k | 4137 | 259
|  | read_512k | 2055 | 1028
|  | read_1m | 1182 | 1182
map | bare disk | randwrite_04k | 3417 | 13.3
|  | randwrite_08k | 3279 | 25.6
|  | randwrite_64k | 2727 | 170
|  | randread_04k | 76.2k | 298
|  | randread_08k | 74.8k | 585
|  | randread_64k | 26.3k | 1641
|  | write_64k | 4111 | 257
|  | write_512k | 891 | 446
|  | write_1m | 456 | 457
|  | read_64k | 9594 | 600
|  | read_512k | 3013 | 1507
|  | read_1m | 1653 | 1654
| xfs | randwrite_04k | 784 | 3137KiB/s
|  | randwrite_08k | 763 | 6110KiB/s
|  | randwrite_64k | 653 | 40.9
|  | randread_04k | 73.2k | 286
|  | randread_08k | 72.1k | 563
|  | randread_64k | 26.4k | 1650
|  | write_64k | 4059 | 254
|  | write_512k | 754 | 377
|  | write_1m | 456 | 457
|  | read_64k | 9066 | 567
|  | read_512k | 2366 | 1183
|  | read_1m | 1205 | 1206

## Picture of ceph
IOPS
| randwrite_04k | randwrite_08k | randwrite_64k | write_64k | write_512k | write_1m
librbd | 3355 | 3196 | 2677 | 2095 | 999 | 586
map_bare | 3417 | 3279 | 2727 | 4111 | 891 | 456
map_xfs | 784 | 763 | 653 | 4059 | 754 | 456
randwrite_08k
BW(MiB/s)
| randwrite_04k | randwrite_08k | randwrite_64k | write_64k | write_512k | write_1m
librbd | 13.1 | 24 | 167 | 131 | 500 | 587
map_bare | 13.3 | 25.6 | 170 | 257 | 446 | 457
map_xfs | 3.0634 | 5.9667 | 40.9 | 254 | 377 | 457
| 3137KiB/s | 6110KiB/s
IOPS |  |  |  |  | IOPS
| randread_04k | randread_08k | randread_64k |  |  | read_64k | read_512k | read_1m
librbd | 20000 | 18900 | 16400 |  | librbd | 4137 | 2055 | 1182
map_bare | 76200 | 74800 | 26300 |  | map_bare | 9594 | 3013 | 1653
map_xfs | 73200 | 72100 | 26400 |  | map_xfs | 9066 | 2366 | 1205
| 20.0k | 18.9k | 16.4k
| 76.2k | 74.8k | 26.3k
| 73.2k | 72.1k | 26.4k
BW(MiB/s)
| randread_04k | randread_08k | randread_64k | read_64k | read_512k | read_1m
librbd | 81.9 | 148 | 1028 | 259 | 1028 | 1182
map_bare | 298 | 585 | 1641 | 600 | 1507 | 1654
map_xfs | 286 | 563 | 1650 | 567 | 1183 | 1206

## rate of ceph & disk
|  |  | IOPS | BW(MiB/s) | IOPS | [5 empty] | JBOD | IOPS(rate)
|  |  | RAID0 |  | JBOD |  |  |  | RAID0 |  |  | randwrite_04k | randwrite_08k | randwrite_64k | randread_04k | randread_08k | randread_64k | write_64k | write_512k | write_1m | read_64k | read_512k | read_1m | randwrite_04k | randwrite_08k | randwrite_64k | randread_04k | randread_08k | randread_64k | write_64k | write_512k | write_1m | read_64k | read_512k | read_1m | randwrite_04k | randwrite_08k | randwrite_64k | randread_04k | randread_08k | randread_64k | write_64k | write_512k | write_1m | read_64k | read_512k | read_1m
|  |  | ceph |  | disk bare | disk xfs | ceph/disk_bare | ceph/disk_xfs | ceph/disk_bare | ceph/disk_xfs | ceph/disk_bare | 8.3082 | 7.82 | 6.6238 | 38.8372 | 36.9075 | 35.3425 | 0.66079 | 2.5377 | 2.9669 | 1.2703 | 5.0518 | 5.834 | 8.4617 | 8.0231 | 6.7475 | 147.9699 | 146.0678 | 56.6773 | 1.2967 | 2.2633 | 2.3087 | 2.9459 | 7.4068 | 8.1587 | 1.9415 | 1.8669 | 1.6157 | 142.1443 | 140.7953 | 56.8928 | 1.2803 | 1.9153 | 2.3087 | 2.7838 | 5.8163 | 5.9475
| method | [9 empty] | ceph/disk_xfs | 14.8134 | 14.193 | 12.8384 | 39.2647 | 37.3428 | 35.7464 | 0.67595 | 2.5576 | 3.0239 | 1.2734 | 5.057 | 5.8157 | 15.0871 | 14.5616 | 13.0782 | 149.5984 | 147.7907 | 57.325 | 1.3264 | 2.2811 | 2.3531 | 2.953 | 7.4145 | 8.1331 | 3.4616 | 3.3884 | 3.1317 | 143.7087 | 142.456 | 57.5429 | 1.3096 | 1.9303 | 2.3531 | 2.7905 | 5.8224 | 5.9289
librbd | librbd | randwrite_04k | 3355 | 13.1 | 403.8182 | 226.4848 | 8.3082 | 14.8134
|  | randwrite_08k | 3196 | 24 | 408.697 | 225.1818 | 7.82 | 14.193
|  | randwrite_64k | 2677 | 167 | 404.1515 | 208.5152 | 6.6238 | 12.8384
|  | randread_04k | 20000 | 81.9 | 514.9697 | 509.3636 | 38.8372 | 39.2647
|  | randread_08k | 18900 | 148 | 512.0909 | 506.1212 | 36.9075 | 37.3428
|  | randread_64k | 16400 | 1028 | 464.0303 | 458.7879 | 35.3425 | 35.7464
|  | write_64k | 2095 | 131 | 3170.4242 | 3099.3333 | 0.66079 | 0.67595
|  | write_512k | 999 | 500 | 393.6667 | 390.6061 | 2.5377 | 2.5576
|  | write_1m | 586 | 587 | 197.5152 | 193.7879 | 2.9669 | 3.0239
|  | read_64k | 4137 | 259 | 3256.7576 | 3248.8485 | 1.2703 | 1.2734
|  | read_512k | 2055 | 1028 | 406.7879 | 406.3636 | 5.0518 | 5.057
|  | read_1m | 1182 | 1182 | 202.6061 | 203.2424 | 5.834 | 5.8157
map | bare disk | randwrite_04k | 3417 | 13.3 | 403.8182 | 226.4848 | 8.4617 | 15.0871
|  | randwrite_08k | 3279 | 25.6 | 408.697 | 225.1818 | 8.0231 | 14.5616
|  | randwrite_64k | 2727 | 170 | 404.1515 | 208.5152 | 6.7475 | 13.0782
|  | randread_04k | 76200 | 298 | 514.9697 | 509.3636 | 147.9699 | 149.5984
|  | randread_08k | 74800 | 585 | 512.0909 | 506.1212 | 146.0678 | 147.7907
|  | randread_64k | 26300 | 1641 | 464.0303 | 458.7879 | 56.6773 | 57.325
|  | write_64k | 4111 | 257 | 3170.4242 | 3099.3333 | 1.2967 | 1.3264
|  | write_512k | 891 | 446 | 393.6667 | 390.6061 | 2.2633 | 2.2811
|  | write_1m | 456 | 457 | 197.5152 | 193.7879 | 2.3087 | 2.3531
|  | read_64k | 9594 | 600 | 3256.7576 | 3248.8485 | 2.9459 | 2.953
|  | read_512k | 3013 | 1507 | 406.7879 | 406.3636 | 7.4068 | 7.4145
|  | read_1m | 1653 | 1654 | 202.6061 | 203.2424 | 8.1587 | 8.1331
| xfs | randwrite_04k | 784 | 3137KiB/s | 403.8182 | 226.4848 | 1.9415 | 3.4616
|  | randwrite_08k | 763 | 6110KiB/s | 408.697 | 225.1818 | 1.8669 | 3.3884
|  | randwrite_64k | 653 | 40.9 | 404.1515 | 208.5152 | 1.6157 | 3.1317
|  | randread_04k | 73200 | 286 | 514.9697 | 509.3636 | 142.1443 | 143.7087
|  | randread_08k | 72100 | 563 | 512.0909 | 506.1212 | 140.7953 | 142.456
|  | randread_64k | 26400 | 1650 | 464.0303 | 458.7879 | 56.8928 | 57.5429
|  | write_64k | 4059 | 254 | 3170.4242 | 3099.3333 | 1.2803 | 1.3096
|  | write_512k | 754 | 377 | 393.6667 | 390.6061 | 1.9153 | 1.9303
|  | write_1m | 456 | 457 | 197.5152 | 193.7879 | 2.3087 | 2.3531
|  | read_64k | 9066 | 567 | 3256.7576 | 3248.8485 | 2.7838 | 2.7905
|  | read_512k | 2366 | 1183 | 406.7879 | 406.3636 | 5.8163 | 5.8224
|  | read_1m | 1205 | 1206 | 202.6061 | 203.2424 | 5.9475 | 5.9289